# Summary of Research Protocol Submitted for Ethical Clearance

Cover Letter to the Ethics and Research Committee

OAUTHC, Ile-Ife | 16 August 2026

---

### Submission Summary

Full title: External Validation of the Fuzzy Audiometric Index (FAI), a Fuzzy Inference System for Automated Audiogram Classification, Using Clinical Audiometry Data from the Department of Otorhinolaryngology, Obafemi Awolowo University Teaching Hospitals Complex (OAUTHC), Ile-Ife

Investigators: Dr Sanyaolu Alani Ameye, MBBS, FWACS, FMCORL (Principal Investigator, former Reader, Department of Otorhinolaryngology, OAU) and Dr Samuel Ayodele, Consultant ENT Surgeon (Co-Investigator and Site Lead, OAUTHC)

### What the Study Does

The study externally validates the Fuzzy Audiometric Index, an interpretable fuzzy inference system that classifies audiograms into WHO hearing-loss severity grades. The FAI was developed on United States survey data (NHANES, 19,568 ears) where it achieved a weighted kappa of 0.931 against the WHO PTA-4 reference, with 94.7% overall agreement and 79.8% agreement in borderline cases. It has never been tested on West African clinical audiometry, and this study provides that evidence.

### Study Design

•  Design: Retrospective chart review of archived audiometry records, 1 January 2020 to 30 June 2026. No patient contact, no intervention, no prospective data collection.

•  Sample: Minimum 400 ears from approximately 200 to 250 patients (minimum 250 ears for the study to proceed), drawn consecutively from the ENT audiology records.

•  Reference standards: WHO PTA-4 severity grade (primary) and documented consultant ENT clinical grading where available (secondary).

•  Analysis: Weighted Cohen's kappa, overall accuracy, borderline-zone performance (within 5 dB of a severity boundary), configuration classification, age/sex/aetiology subgroup comparisons, and continuous score agreement (correlation, mean absolute error, Bland-Altman). Reported per the TRIPOD statement for external validation.

•  Key methodological feature: The FAI is frozen; no re-fitting on OAUTHC data. This is a genuine external validation, not a re-development.

### Ethics and Data Governance

•  Consent: Waiver of consent is requested. The study is retrospective, uses only existing records, and involves no more than minimal risk.

•  Anonymity: All data are de-identified at extraction (k-anonymity, groups of at least 5). No names, hospital numbers, addresses, or other identifiers leave the hospital.

•  Data security: Data are stored on encrypted, password-protected media. Aggregated, fully de-identified analysis files only are shared with the principal investigator outside the hospital.

•  Compliance: The protocol follows NHREC requirements for retrospective research using archived records.

### What We Request

Approval of the protocol, including the waiver of informed consent, to enable the Department of Otorhinolaryngology to extract and analyse de-identified archived audiometry data within the study window.

Attachments: Full research protocol, data dictionary, extraction template, investigator CVs.

---

Principal Investigator | Dr Sanyaolu Alani Ameye, MBBS, FWACS, FMCORL

Site Lead | Dr Samuel Ayodele, Consultant ENT Surgeon, OAUTHC